HOUSE Bill 311 2009-2010 Updated Language - 6/7/2009
 

Language added in RED
Comments added in (BLUE)
 

SECTION 1. Section 1 of chapter 146, as appearing in the 2006 Official Edition, is hereby amended by inserting, in line 17, after the words "a district engineer inspector" the words: - "who shall be a licensed Massachusetts First Class Engineer". (This language is unchanged from the first version of HB.311.)
 
(The following language in RED has been added to SECTION 1 of HB.311.)
 
 PART I. ADMINISTRATION OF THE GOVERNMENT 
TITLE II. EXECUTIVE AND ADMINISTRATIVE OFFICERS OF THE
COMMONWEALTH 
CHAPTER 22. DEPARTMENT OF PUBLIC SAFETY 
Chapter 22: Section 4A. Division of inspection; chief of inspections; qualifications of inspectors; districts; enforcement of state building code; review by commissioner 
Section 4A. There shall be within the department a division to be known as the division of inspection. The commissioner shall appoint a chief of inspections of the division of inspection, who shall be a licensed Massachusetts First Class Engineer, (This addition establishes a minimum license requirement for the chief of inspections.) who shall have 10 years experience in the field, (This addition with the previous one establishes a minimum experience requirement ensuring that a qualified experienced licensed person holds the position of chief of inspections) whose office shall not be left vacant for more than 90 days for any reason, (This addition ensures that the chief of inspections position is not neglected for an unspecified amount of time.)
 
Chapter 146: Section 1. Definitions 

“Chief”, the chief of inspections of the division of inspection of the department of public safety.

  

SECTION 2 DELETED
 

SECTION 3. DELETED
 

(The following added language in RED replaces the former language in SECTION 3 of HB.311.)
 

Chapter 146: Section 46. Necessity; exceptions 
Section 46. No person shall have charge of or operate a steam boiler or engine or its appurtenances, except boilers and engines upon locomotives, turbines on test stands being operated solely for the purpose of testing such turbines by qualified testing personnel approved by the turbine designer and manufacturer, motor vehicles, boilers and engines in private residences, boilers in apartment houses of less than five apartments, boilers and engines under the jurisdiction of the United States, boilers and engines used for agricultural, horticultural and floricultural purposes exclusively, boilers and engines of less than nine horsepower and boilers used for heating in connection with occupancy purposes exclusively. Low pressure boilers involved in process, production and manufacture of a commodity or product, requiring periodic attendance. (This addition establishes that “process steam” once again comes under the aegis and guidance of the division of inspections and our district engineering inspectors. Specifically it is designed to cover plants such as the Danvers ink company that clearly should have had a licensed engineer and fire controlling the output of steam to the “commodity or product”. It is not meant to burden businesses with the need to hire engineers or firemen to run their low pressure steam plants. It will also be strictly a periodic attendance issue.) which are provided with a device approved by the district engineering inspector assigned to the district (This addition ensures that a qualified person with certain technical expertise will have the power to enforce the law) limiting the pressure carried to 15 pounds to the square inch, unless he holds a license referred to in section 49. 

 

“Periodic attendance”, a licensed engineer or fireman shall perform daily maintenance as required by the department’s maintenance log book, the engineer or fireman shall remain in the same facility as the operating boiler, the boiler shall be equipped with automatic shut-down devices as required by law; provided, however, that the safe operation of the boiler shall be the primary duty of the operator and such operator shall retain full discretion to return to the boiler room for monitoring purposes and all such visits shall be required to be recorded in the department’s log book.
(NOTE: “district engineering inspector assigned to the district” replaces the word “commissioner”)
 
 

 

 PART I. ADMINISTRATION OF THE GOVERNMENT 
 

TITLE XX. PUBLIC SAFETY AND GOOD ORDER 
 

CHAPTER 146. INSPECTION OF BOILERS, AIR TANKS, ETC. LICENSES OF ENGINEERS, FIREMEN, AND OPERATORS OF HOISTING MACHINERY 
 

LICENSES OF ENGINEERS AND FIREMEN 

 

Chapter 146: Section 48. Ascertainment of horse power 
 

Section 48.  When liquid or gaseous fuel, electric or atomic energy or any other source of heat is used, and when the safety valve or valves are set to blow at a pressure exceeding twenty-five pounds per square inch the horsepower of a boiler shall be determined by either the manufacturer’s factory tag affixed to the boiler or burner denoting horsepower, or calculated by one of the following formulae: the steam output capacity as listed on the manufacturer’s tag divided by 34.5, the Btu/Hr Input listed on the manufacturer’s tag divided by 41,840 or the Btu/Hr Output listed on the manufacturer’s tag divided by 33,475.
 
When liquid or gaseous fuel, electric or atomic energy or any other source of heat is used, and when the safety valve or valves are set to blow at a pressure not exceeding twenty-five pounds per square inch or less, the horsepower of a boiler shall be determined by either the manufacturer’s factory tag affixed to the boiler denoting horsepower, or calculated by one of the following formulae: the steam output capacity as listed on the manufacturer’s tag divided by 34.5 divided by 2, the Btu/Hr Input listed on the manufacturer’s tag divided by 41,840 divide by 2 or the Btu/Hr Output listed on the manufacturer’s tag divided by 33,475 divided by 2. 
(These additions ensure that a duly licensed person be in charge of the steam plant. It was deleted in 1996 along with steam not used for heating purposes exclusively.)
 

If a tag is missing, damaged or unclear, the licensed engineer or fireman in charge or on duty at the time shall notify the owner or user of the steam boiler. The owner or user shall obtain a notarized letter, signed by an officer of the manufacturer of the boiler or burner, listing the maximum capacity of the steam boiler in Btu/Hr. Such letter shall be an acceptable basis for calculating the horsepower of that particular steam boiler.

 

PART I. ADMINISTRATION OF THE GOVERNMENT 

 

TITLE II. EXECUTIVE AND ADMINISTRATIVE OFFICERS OF THE
COMMONWEALTH 

 

CHAPTER 22. DEPARTMENT OF PUBLIC SAFETY 

 

Chapter 22: Section 5. Deputy commissioner; secretary 

 

Section 5. There shall be in the department a deputy commissioner who shall also be the secretary, whose office shall not be left vacant for more than 90 days for any reason. He shall be appointed by the commissioner, with the approval of the governor and council, and may, with like approval, be removed at the pleasure of the commissioner. The deputy commissioner, in addition to his duties as secretary under section twelve, shall perform such other duties as may be assigned to him by the commissioner, and during the illness, absence or other disability of the commissioner, he shall perform the official duties of the commissioner. 

PART I. ADMINISTRATION OF THE GOVERNMENT


TITLE II. EXECUTIVE AND ADMINISTRATIVE OFFICERS OF THE COMMONWEALTH

CHAPTER 22. DEPARTMENT OF PUBLIC SAFETY

Chapter 22: Section 6. Inspectors and assistants; appointment

[ Text of section effective until July 1, 2008. For text effective July 1, 2008, see below.]
  Section 6. The commissioner may appoint, transfer and remove inspectors, experts, clerks and other assistants. Except as provided in section two of chapter one hundred and forty-seven, the number of inspectors heretofore authorized by law may be increased only with the approval of the governor and council. District engineering inspectors in the division of inspection shall not be over forty-five years of age when first appointed, and shall not be subject to any civil service rules. Inspectors assigned to the division of inspection shall be designated as building inspectors or as district engineering inspectors according as their duties relate to buildings or engineering. The commissioner shall establish the requirements and qualifications for officers and inspectors appointed pursuant to this section.

Chapter 22: Section 6. Inspectors and assistants; appointment
[ Text of section as amended by 2008, 302, Sec. 4 effective July 1, 2008. See 2008, 302, Sec. 70. For text effective until July 1, 2008, see above.]
  Chapter 22: Section 6. Inspectors and assistants; appointment
[ Text of section as amended by 2008, 302, Sec. 4 effective July 1, 2008. See 2008, 302, Sec. 70. For text effective until July 1, 2008, see above.]
  Section 6. The commissioner may appoint, transfer and remove inspectors, experts, clerks and other assistants with the approval of the chief of inspections concerning inspectors. Except as provided in section two of chapter one hundred and forty-seven, the number of inspectors heretofore authorized by law may be increased only with the approval of the governor and council. District engineering inspectors in the division of inspection shall not be subject to any civil service rules. Inspectors assigned to the division of inspection shall be designated as building inspectors or as district engineering inspectors according as their duties relate to buildings or engineering. The minimum requirement to be appointed a district engineering inspector shall be to hold a valid first class engineer’s license issued by the department, beyond this the commissioner shall establish the requirements and qualifications for officers and inspectors appointed pursuant to this section.

 

 

